## Input & Output
| Motel Screening tools | Property / Location
No. | Location criteria |  |  | Standard
1 | Setting |  | Rural, Suburban, Urban, or Downtown
2 | Distance to local services (measured in a straight line, except around barriers such as freeways, railroads, or water bodies); see CTCAC regulations
| a. Library: |  | miles | 1/2 to 1 mile max; double in rural areas (CTCAC)
| b. Grocery store |  | miles | 1/2 to 1 mile max; double in rural areas (CTCAC)
| c. Pharmacy: |  | miles | 1/2 to 1 mile max; double in rural areas (CTCAC)
| d. Public park: |  | miles | 1/2 to 3/4 mile max; double in rural areas (CTCAC)
| e. Medical clinic: |  | miles | 1/2 to 1 mile max; double in rural areas (CTCAC)
| f. Senior center: |  | miles | No points offered for Special Needs projects (CTCAC)
| g. Social services for homeless: |  | miles | 1/2 to 1 mile max (CTCAC)
| h. Public Transit stop or station: |  | miles | 1/3 to 1/2 mile max. to service with 0-minute weekday frequency (CTCAC)
| CTCAC points: |  |  | 0
Property attributes
3 | Property area |  | sq.ft. | 0 | Acres
4 | Building footprint |  | sq.ft.
5 | Gross building floor area |  | sq.ft.
6 | Number of floors
7 | Number of elevators
8 | Number of guest rooms *
9 | Existing mobility-accessible rooms * |  | Enter req'd fields | additional rooms needed per code
10 | Existing comm-accessible rooms * |  | Enter req'd fields | additional rooms needed per code
11 | Add'l accessible rooms desired |  | Beyond code min (5% mobility-accessible, 2% communications-accessible). Double for CTCAC
12 | (FOR REBUILD) Number of guest rooms desired | 0 |  | If unsure, assume same as current # of units
13 | (FOR REBUILD) Size of guest rooms desired | 325 | sq.ft. | If unsure,use 325 sq.ft. (typical extended stay room with kitchenette)
Key Drivers - Site
14 | Length of site fencing needed |  | ft. | As needed to enclose site perimeter
15 | Number of vehicular gates needed |  |  | One at each driveway
Key Drivers - Architectural
16 | Wall & ceiling rating |  | None, 1/2 hour, 1-hour+, or Don't Know
17 | Fire Sprinklers in all rooms? |  | Yes/No
18 | Fire Alarms in all rooms? |  | Yes/No
19 | Kitchens existing in rooms? |  | Yes/No | If yes, skip to #24
20 | Kitchenettes desired in Tier 1? |  | Yes/No | Tier 1: Sink, microwave, mini-fridge. Do not answer for Tier 3; the following are assumed per CTCAC: Sink, cooktop, refrigerator
21 | Kitchen sinks desired in Tier 1? |  | Yes/No | Answer "Yes" only if local building official does not agree to classify the property as dormitory or boarding house, and requires a sink separate from the lavatory in each unit.
22 | Rooms are 250 sf min AND have space for kitchenettes |  | Yes/No
23 | There is space for a kitchen sink on or near a plumbing wall |  | Yes/No | Also select "Yes" if an outside lavatory can be moved into the bathroom and the kitchen sink located where the lavatory was.
24 | Age of roof |  | Years
| Key Drivers - Structural |  | per FEMA P-154 checklist
25 | Spectral Acceleration Response SS |  | g, from https://seismicmaps.org/
| Spectral Acceleration Response S1 |  | g, from https://seismicmaps.org/
26 | Landslide zone? |  | Yes/No
27 | Liquefaction zone? |  | Yes/No
28 | Soil rupture zone? |  | Yes/No
29 | Vertical Irregularity |  | Severe/Moderate/None
30 | Plan Irregularity |  | Yes/No
| Key Drivers - Mechanical | Important! Look at Google Earth and Street View to determine if property has PTACs (visible beneath individual room windows) or central A/C system (large equipment on roof)
31 | Pass-Thru Air Conditioners (PTACs) | 100% | portion of system requiring replacement (enter 0 if system does not apply)
32 | Hot water system | 100% | portion of system requiring replacement (enter 0 if system does not apply)
33 | Central air conditioning system | 100% | portion of system requiring replacement (enter 0 if system does not apply)
| CONCEPTUAL CONSTRUCTION COST* | FOR COMPARISON ONLY, DO NOT USE FOR BUDGETING PURPOSES!
| TIER 1 | Enter req'd fields | Cost/Unit: | Enter req'd fields
| TIER 2 | Enter req'd fields | Cost/Unit: | Enter req'd fields
| TIER 3 | Enter req'd fields | Cost/Unit: | Enter req'd fields
| TIER 4 | Enter req'd fields | Cost/Unit: | Enter req'd fields
| TIER 5 | 0 | Cost/Unit: | Enter req'd fields
* Includes: GC markup, profit & overhead, bonds, and design contingency
*Excludes: Property acquisition, financing, professional fees, permits and entitlements, operating reserve, and other soft costs
* Req'd fields: #8, 9, 10

## Calculations
Motel Screening tools | #VALUE!
Location criteria
Setting
Distance to local services (measured in a straight line, except around barriers such as freeways, railroads, or water bodies)
a. Library: | 0 | 2 points within 1 mile, 3 points within 1/2 mile; double in rural areas
b. Grocery store | 0 | 1 points within 1 mile, 5 points within 1/2 mile; double in rural areas
c. Pharmacy: | 0 | 1 points within 1 mile, 2 points within 1/2 mile; double in rural areas
d. Public park: | 0 | 2 points within 3/4 mile, 3 points within 1/2 mile; double in rural areas
e. Medical clinic: | 0 | 2 points within 1 mile, 3 points within 1/2 mile; double in rural areas
f. Senior center: |  | No points offered for Special Needs projects
g. Social services: | 0 | 2 points within 1 mile, 3 points within 1/2 mile
h. Public Transit stop or station: | 0 | 3 points within 1/2 mile, 7 points within 1/3 mile
0
Property attributes
Property area | 0
Building footprint | 0 | Site utilization: | #DIV/0!
Gross building floor area | 0 | FAR: | #DIV/0!
Number of floors | 0
Number of elevators | 0 | 56000
Number of guest rooms | 0 | DU/acre: | #DIV/0! |  | Additional accessible rooms needed | Cost/unit
Existing mobility-accessible rooms | #DIV/0! |  | % of accessible rooms: | #DIV/0! | #DIV/0! | 39000
Existing comm-accessible rooms | #DIV/0! |  | % of accessible rooms: | #DIV/0! | #DIV/0! | 3400
Add'l accessible rooms desired | 0
(FOR REBUILD) Number of guest rooms desired | 0
(FOR REBUILD) Size of guest rooms desired | 325 | sq.ft.
Key Drivers - Site
Length of site fencing needed | 0 | 250 | /lf
Number of vehicular gates needed | 0 | 29000 | Each
Key Drivers - Architectural | Total cost |  | Cost/unit |  | Cost/unit
Wall & ceiling rating | 0 | Value for 1/2 hour, 1-hour+: | 0 | Value for None, Don't Know: | 20000
Fire Sprinklers in all rooms? | 0 | Value for Yes: | 0 | Value for No: | 8000
Fire Alarms in all rooms? | 0 | Value for Yes: | 74 | Value for No: | 6000
Kitchens existing in rooms? | 0 | Value for Yes: | 0 | Value for No: | 40000
Kitchenettes desired in Tier 1? | 0 |  | 6000
Kitchen sinks desired in Tier 1? | 0
Rooms are 250 sf min AND have space for kitchenettes |  |  | Tier 3 room count: | 0
There is space for a kitchen sink on or near a plumbing wall |  | Value for Yes: | 8400 | Value for No: | 11000
Age of roof | 0 | Value for <=10: | 0 | Value for >10: | 31
Key Drivers - Structural |  | Assumed: W1A wood building, 1-3 stories
Seismicity | Moderately High | Very High | High | Moderately High | Moderate | Low | Cost/unit |  | Seismicity lookup | Very High | High | Moderately High | Moderate | Low
Spectral Acceleration Response SS | 0 | 1.9 | 3.2 | 3.7 | 4.5 | 5.9 |  |  | SS | 1.5 | 1 | 0.5 | 0.25
Spectral Acceleration Response S1 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | S1 | 0.6 | 0.4 | 0.2 | 0.1
Landslide zone? | 0 | [5 empty] | 8000
Liquefaction zone? | 0 | 0 | 0 | 0 | 0 | 0 | 8000
Soil rupture zone? | 0 | [5 empty] | 8000
Vertical Irregularity | 0 | 0 | 0 | 0 | 0 | 0 | 6000
Plan Irregularity | 0 | -0.2 | -1 | -1.2 | -1.3 | -1.4 | 6000
Cost | 0 | 1.7 | 2.2 | 2.5 | 3.2 | 4.5 | 6000
Key Drivers - Mechanical |  | Cost/unit
Pass-Thru Air Conditioners (PTACs) | 0 | 8400
Hot water system | 0 | 2800
Central air conditioning system | 0 | 2800
CONCEPTUAL COST/UNIT | [5 empty] | Allowance for base costs included in Tier total, not listed above
TIER 1 | #DIV/0! | Cost/Unit: | #DIV/0! | 0 | units | 0 | 6000 | per unit
TIER 2 | #DIV/0! | Cost/Unit: | #DIV/0! | 0 | units | 0 | 2200 | per unit
TIER 3 | #DIV/0! | Cost/Unit: | #DIV/0! | 0 | units | 0 | 18000 | per unit
TIER 4 | #DIV/0! | Cost/Unit: | #DIV/0! | 0 | units | 0 | 22000 | per unit
TIER 5 | 0 | Cost/Unit: | #DIV/0! | 0 | units | 0 | 820 | per sq.ft | building cost
[6 empty] | 0 | 39 | per sq.ft | site cost
Escalation | CCCI
2020-06-01 | 7041
2021-09-02 | 7900
Escalation factor | 112.2%

## Drop Down
Setting | Wall & ceiling rating | Yes/No | Vertical Irregularity
Rural | None | Yes | Severe
Suburban | 1/2 hour | No | Moderate
Urban | 1-hour+ |  | None
Downtown | Don't Know